## Cover Sheet
Environmental Protection Monitoring Data | Groundwater Monitoring
Period | 2021 Annual Groundwater Monitoring Event
PPG Environmental Protection License | 1996
PPG License on the EPA Website | Link Here
Site Address | 9 Birmingham Avenue Villawood NSW 2163
Postal Address | PO Box 204 Chester Hill NSW 2162
Australian Head Office | 14 McNAUGHTON Rd CLAYTON VIC 3168 PH (03) 92634942
EPL REQUIREMENTS: 7. POLLUTION STUDIES AND REDUCTION PROGRAMS U1 Pollution Study
U1.1 The objective of this pollution study is to assess the condition of the groundwater at the site and monitor any changes in groundwater conditions. The licensee must undertake the following actions in relation to groundwater gauging and monitoring at the premises:
a) Conduct annual gauging and groundwater monitoring of on-site wells identified as CHMW1, CHMW1A, CHMW2, CHMW3, CHMW4, CHMW6, CHMW7, CHMW7A, CHMW9, CHMW10, CHMW12, ERM2 and GWT13 (refer to Figure 2 – Site Layout and Groundwater Well Locations in Environmental Resources Management Australia Pty Ltd Groundwater Monitoring Event, ref. 0185811_RP01, 26 March 2015).
b) Submit collected groundwater samples to a National Association of Testing Authorities (NATA) Laboratory.
c) Commission the laboratory to test groundwater for the following analytes using NATA accredited methods:
i. dissolved metals and metalloids (arsenic, cadmium, chromium [trivalent and hexavalent], copper, nickel, lead, zinc and mercury); Total Recoverable Hydrocarbons (TRH); Benzene, Toluene, Xylenes, Ethylbenzenes and Naphthalene (BTEXN); and Volatile Organic Compounds (VOCs)
ii. natural attenuation parameters including, but not necessarily limited to, pH, Total Dissolved Solids (TDS), ferrous iron, Nitrite as N, Nitrate as N, Sulfate as SO4, total anions, total cations and total organic carbon
d) Annual Groundwater Monitoring Event data must be assessed against the following criteria:
i. National Environment Protection (Assessment of Site Contamination) Measure 1999 (ASC NEPC 2013): Groundwater Investigation Levels for Fresh Water
ii. Guidelines for Managing Risk in Recreational Waters (GMRRW, 2008)
iii. Site Specific Trigger Levels for hydrocarbon compounds as developed in Groundwater Monitoring Event Final, PPG Industries Australia Pty Ltd, 9 Birmingham Avenue Villawood, NSW, Australia, 26 March 2015.

## BTEXN & TRH Results
|  | TPH | TPH | TPH | TPH | TPH | TRH | TRH | TRH | TRH | TRH | TRH | TRH | BTEXN
|  | C6-C9 | C10-C14 | C15-C28 | C29-C36 | C10-C36 (Sum of total) | C6-C10 | C6-C10 (F1 minus BTEX) | C10-C16 | C10-C16 (F2 minus Naphthalene) | C16-C34 | C34-C40 | C10-C40 (Sum of total) | Benzene | Toluene | Ethylbenzene | Xylene (m & p) | Xylene (o) | Xylene Total | Naphthalene | Total BTEX
|  | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
EQL |  | 20 | 50 | 100 | 50 | 50 | 20 | 20 | 100 | 100 | 100 | 100 | 100 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 1
Aquatic Ecosystems | [13 empty] | 950 |  |  | 200 | 350 | 550 | 16
Recreational Use | [13 empty] | 1 | 800 | 300 |  |  | 600
Site Specific Trigger Levels for Hydrocarbon Compounds |  | 6500 | NL |  |  |  | 6500 | 6500 | NL | NL |  |  |  | 5100 | NL | NL
Field ID | Date
CHMW1 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW1A | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW2 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW4 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW6 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW7 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW7A | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW9 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW10 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
CHMW12 | 2021-09-24 | 0 | <50 | <100 | <50 | <50 | 100 | 100 | <100 | <100 | <100 | <100 | <100 | 2 | <1 | <1 | <1 | <1 | <1 | <5 | 2
ERM2 | 2021-09-24 | 200 | 100 | 150 | <50 | 250 | 190 | 10 | 130 | 130 | 110 | <100 | 240 | 22 | <1 | 1 | <1 | <1 | <1 | <5 | 22
QS-1 | 2021-09-24 | 200 | 120 | 170 | <50 | 290 | 180 | 160 | 150 | 150 | 130 | <100 | 280 | 19 | <1 | <1 | <1 | <1 | <1 | <5 | 9
QS-2B1 | 2021-09-24 | 210 | 300 | 300 | <100 | 600 | 230 | 210 | 270 | 270 | 300 | <100 | 50 | 21 | <1 | 1 | <1 | <1 | <1 | <10 | 0
GWT13 | 2021-09-24 | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <1
Statistics
Number of Results |  | 15 | 14 | 14 | 14 | 14 | 15 | 15 | 14 | 14 | 14 | 14 | 14 | 18 | 15 | 16 | 15 | 15 | 15 | 15 | 14
Number of Detects |  | 4 | 3 | 3 | 0 | 3 | 4 | 4 | 3 | 3 | 3 | 0 | 3 | 7 | 0 | 2 | 0 | 0 | 0 | 0 | 3
Minimum Concentration |  | <20 | <50 | <100 | <50 | <50 | <20 | <20 | <100 | <100 | <100 | <100 | <100 | <1 | <1 | 1 | <1 | <1 | <1 | <5 | <1
Minimum Detect |  | 100 | 100 | 150 | ND | 250 | 100 | 100 | 130 | 130 | 110 | ND | 240 | 2 | ND | 1 | ND | ND | ND | ND | 2
Maximum Concentration |  | 210 | 300 | 300 | <100 | 600 | 230 | 210 | 270 | 270 | 300 | <100 | 570 | 22 | <2 | <2 | <2 | <2 | <3 | <10 | 22
Maximum Detect |  | 210 | 300 | 300 | ND | 600 | 230 | 210 | 270 | 270 | 300 | ND | 570 | 22 | ND | 1 | ND | ND | ND | ND | 23
Average Concentration * |  | 55 | 27 | 84 | 27 | 101 | 54 | 50 | 79 | 79 | 78 | 50 | 117 | 6.2 | 0.53 | 0.62 | 0.57 | 0.53 | 0.6 | 2.7 | 3.5
Median Concentration * |  | 10 | 25 | 50 | 25 | 25 | 10 | 10 | 50 | 50 | 50 | 50 | 50 | 0.5 | 0.5 | 0.5 | 0 | 0.5 | 0.5 | 2.5 | 0.5
Standard Deviation * |  | 80 | 77 | 74 | 6.7 | 169 | 80 | 72 | 64 | 64 | 69 | 0 | 151 | 8.3 | 0.13 | 0.22 | 0.18 | 0.13 | 0.28 | 0.65 | 7.3
95% UCL (Student's-t) * |  | 91.2 | 93.01 | 118.6 | 29.95 | 181 | 90.21 | 82.66 | 108.9 | 108.9 | 110.4 | 50 | 188.6 | 10.02 | 0.592 | 0.723 | 0.647 | 0.592 | 0.727 | 2.96 | 6.897
D - Duplicated samples adopted
Criteria:
Aquatic Ecosystems |  |  |  |  | National Environment Protection (Assessment of Site Contamintion) Measure (1999) as amneded 2013 - Groundwater Investigation Levels - Fresh Water.
1 Australian and New Zealand Environment and Conservation Council (ANZECC) - Low Reliability Trigger Values (for toluene and ethylbenzene) for Freshwater (2000).
Recreational Use |  |  |  |  | National Health and Medical Research Council (NHMRC) - Guidelines for Managing Risks in Recreational Water (2008).
National Health and Medical Research Council (NHMRC) - National Water Quality Management Strategy: Australian Drinking Water Guidelines (2011) as updated 2019.
Site Specific Trigger Levels for Hydrocarbon Compounds |  |  |  |  | Environmental Resources Management (ERM) - Site Specific Trigger Levels for Hydrocarbon Compounds (2015).

## VOC Results
|  | MAH | [8 empty] | Chlorinated Hydrocarbons | [16 empty] | Chlorinated Hydrocarbons | [13 empty] | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Benzenes | Halogenated Hydrocarbons | Halogenated Hydrocarbons | Halogenated Hydrocarbons | Halogenated Hydrocarbons | Halogenated Hydrocarbons | VOCs | VOCs | VOCs | VOCs | VOCs | Solvents
|  | 1,2,4-trimethylbenzene | 1,3,5-trimethylbenzene | Isopropyl benzene | n-butylbenzene | n-propylbenzene | p-isopropyltoluene | sec-butylbenzene | Styrene | tert-butylbenzene | 1,1,1,2-tetrachloroethane | 1,1,1-trichloroethane | 1,1,2,2-tetrachloroethane | 1,1,2-trichloroethane | 1,1-dichloroethane | 1,1-dichloroethene | 1,1-dichloropropene | 1,2,3-trichloropropane | 1,2-dibromo-3-chloropropane | 1,2-dichloroethane | 1,2-dichloropropane | 1,3-dichloropropane | 2,2-dichloropropane | Bromochloromethane | Bromodichloromethane | Bromoform | Carbon tetrachloride | Chlorodibromomethane | Chloroethane | Chloroform | Chloromethane | cis-1,2-dichloroethene | cis-1,3-dichloropropene | Dibromomethane | Dichloromethane | Hexachlorobutadiene | Trichloroethene | Tetrachloroethene | trans-1,2-dichloroethene | trans-1,3-dichloropropene | Vinyl chloride | 1,2,3-trichlorobenzene | 1,2,4-trichlorobenzene | 1,2-dichlorobenzene | 1,3-dichlorobenzene | 1,4-dichlorobenzene | 2-chlorotoluene | 4-chlorotoluene | Bromobenzene | Chlorobenzene | Trichlorobenzene (total) | 1,2-dibromoethane | Bromomethane | Dichlorodifluoromethane | Iodomethane | Trichlorofluoromethane | 1,3-Dichloropropene | cis-1,4-Dichloro-2-butene | trans-1,4-Dichloro-2-butene | Pentachloroethane | Trihalomethanes | Methyl Ethyl Ketone | 2-hexanone (MBK) | 4-Methyl-2-pentanone | Carbon disulfide | Vinyl acetate
|  | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L
EQL |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 1 | 5 | 0.01 | 1 | 1 | 2 | 0.5 | 1 | 1 | 1 | 2 | 0.2 | 1 | 1 | 1 | 1 | 0.01 | 1 | 1 | 1 | 0.01 | 0.001 | 1 | 5 | 1 | 1 | 5 | 2 | 1 | 1 | 1 | 0.001 | 10 | 10 | 10 | 1 | 10
Aquatic Ecosystems | [13 empty] | 6,500 | [27 empty] | 3 | 85 | 160 | 260 | 60
Recreational Use | [8 empty] | 30 | [6 empty] | 30 |  |  |  | 3 | [6 empty] | 3 | [7 empty] | 4 | 0.7 |  | 50 |  |  | 0.3 |  |  | 1,500 | 20 | 40 |  |  |  | 300 | 0.03 | 1 | 1 |  |  |  | 100 |  |  |  | 0.25
Site Specific Trigger Levels for Hydrocarbon Compounds
Field ID | Date
CHMW1 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW1A | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW2 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW4 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW6 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW7 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW7A | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | 2 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW9 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW10 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
CHMW12 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | 3.4 | <1 | <1 | <1 | 123 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
ERM2 | 2021-09-24 | <1 | <1 | 6 | <1 | 12 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
QS-1 | 2021-09-24 | <1 | <1 | 5 | <1 | 11 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <0.01 | <1 | - | <1 | - | 0.35 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
QS-2B1 | 2021-09-24 | <1 | <1 | 6 | - | - | - | - |  | - | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <5 | <5 | <5 | <1 | <1 | <0.02 | - | <0.01 | <0.02 | <1 | <1 | <0.05 | - | - | <1 | <1 | <0.01 | - | <1 | <1 | 0.08 | - | <1 | <5 | <1 | <1 | <5 | - | - | - | - | - | <5 | - | <5 | <1 | -
GWT13 | 2021-09-24 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | <0.1 | <1 | <1 | <1 | <1 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
Statistics
Number of Results |  | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 14 | 13 | 14 | 14 | 14 | 14 | 14 | 14 | 13 | 14 | 13 | 14 | 14 | 14 | 13 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 13 | 14 | 14 | 14 | 14 | 14 | 13 | 13 | 14 | 14 | 14 | 13 | 14 | 14 | 14 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 | 14 | 13 | 14 | 14 | 13
Number of Detects |  | 0 | 0 | 3 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minimum Concentration |  | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <0.01 | <1 | <1 | <1 | <1 | 0.35 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <1 | <5 | <0.01 | <1 | <1 | <0.02 | <0.5 | <0.01 | <0.02 | <1 | <1 | <0.05 | <1 | <1 | <1 | <1 | <0.01 | <1 | <1 | <1 | 0.08 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <5 | <10 | <5 | <1 | <10
Minimum Detect |  | ND | ND | 5 | ND | 11 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 0.35 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3.4 | ND | ND | ND | 0.08 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
Maximum Concentration |  | <1 | <1 | 6 | <1 | 12 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | 2 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <10 | <5 | <10 | <1 | <2 | <1 | <2 | <0.5 | <1 | <1 | <1 | <2 | <0.2 | <1 | <1 | <1 | <1 | 3.4 | <1 | <1 | <1 | 123 | <0.001 | <1 | <10 | <10 | <1 | <10 | <2 | <1 | <1 | <1 | <0.001 | <10 | <10 | <10 | <1 | <10
Maximum Detect |  | ND | ND | 6 | ND | 12 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3.4 | ND | ND | ND | 123 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
Average Concentration * |  | 0.5 | 0.5 | 1.6 | 0.5 | 2.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.46 | 0.5 | 0.5 | 0.5 | 0.5 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 4.8 | 0.64 | 4.8 | 0.46 | 0.96 | 0.5 | 0.93 | 0.25 | 0.46 | 0.46 | 0.5 | 0.96 | 0.095 | 0.5 | 0.5 | 0.5 | 0.5 | 0.29 | 0.5 | 0.5 | 0.5 | 9.2 | 0.0005 | 0.5 | 5 | 5 | 0.5 | 5 | 1 | 0.5 | 0.5 | 0.5 | 0.0005 | 4.8 | 5 | 4.8 | 0.5 | 5
Median Concentration * |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 5 | 0.5 | 5 | 0.5 | 1 | 0.5 | 1 | 0.25 | 0.5 | 0.5 | 0.5 | 1 | 0.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.05 | 0.5 | 0.5 | 0.5 | 0.5 | 0.0005 | 0.5 | 5 | 5 | 0.5 | 5 | 1 | 0.5 | 0.5 | 0.5 | 0.0005 | 5 | 5 | 5 | 0.5 | 5
Standard Deviation * |  | 0 | 0 | 2.2 | 0 | 4.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13 | 0 | 0 | 0 | 0 | 0.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67 | 0.53 | 0.67 | 0.13 | 0.13 | 0 | 0.26 | 0 | 0.13 | 0.13 | 0 | 0.3 | 0.02 | 0 | 0 | 0 | 0 | 0.9 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.67 | 0 | 0.67 | 0 | 0
95% UCL (Student's-t) * |  | 0.5 | 0.5 | 2.654 | 0.5 | 4.237 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.527 | 0.5 | 0.5 | 0.5 | 0.5 | 0.789 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 5.137 | 0.896 | 5.138 | 0.527 | 1.028 | 0.5 | 1.055 | 0.25 | 0.527 | 0.5 | 0.5 | 1.028 | 0.104 | 0.5 | 0.5 | 0.5 | 0.5 | 0.71 | 0.5 | 0.5 | 0.5 | 24.72 | 0.0005 | 0.5 | 5 | 5 | 0.5 | 5 | 1 | 0.5 | 0.5 | 0.5 | 0.0005 | 5.138 | 5 | 5.138 | 0.5 | 5
D - Duplicated samples adopted
Criteria:
Aquatic Ecosystems |  |  |  |  | National Environment Protection (Assessment of Site Contamintion) Measure (1999) as amneded 2013 - Groundwater Investigation Levels - Fresh Water. | [36 empty] | National Environment Protection (Assessment of Site Contamintion) Measure (1999) as amneded 2013 - Groundwater Investigation Levels - Fresh Water.
[5 empty] | 1 Australian and New Zealand Environment and Conservation Council (ANZECC) - Low Reliability Trigger Values (for toluene and ethylbenzene) for Freshwater (2000). | [36 empty] | 1 Australian and New Zealand Environment and Conservation Council (ANZECC) - Low Reliability Trigger Values (for toluene and ethylbenzene) for Freshwater (2000).
Recreational Use |  |  |  |  | National Health and Medical Research Council (NHMRC) - Guidelines for Managing Risks in Recreational Water (2008). | [36 empty] | National Health and Medical Research Council (NHMRC) - Guidelines for Managing Risks in Recreational Water (2008).
[5 empty] | National Health and Medical Research Council (NHMRC) - National Water Quality Management Strategy: Australian Drinking Water Guidelines (2011) as updated 2019. | [36 empty] | National Health and Medical Research Council (NHMRC) - National Water Quality Management Strategy: Australian Drinking Water Guidelines (2011) as updated 2019.
Site Specific Trigger Levels for Hydrocarbon Compounds |  |  |  |  | Environmental Resources Management (ERM) - Site Specific Trigger Levels for Hydrocarbon Compounds (2015). | [36 empty] | Environmental Resources Management (ERM) - Site Specific Trigger Levels for Hydrocarbon Compounds (2015).

## Metals Results
Metals
|  | Arsenic (filtered) | Cadmium (filtered) | Chromium (III+VI) (filtered) | Copper (filtered) | Lead (filtered) | Mercury (filtered) | Nickel (filtered) | Zinc (filtered)
|  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
EQL |  | 0.001 | 0.0001 | 0.001 | 0.001 | 0.001 | 0.0001 | 0.001 | 0.005
Aquatic Ecosystems |  | 0.024 | 0.0002 |  | 0.0014 | 0.0034 | 6e-05 | 0.011 | 0.008
Recreational Use |  | 0.1 | 0.02 | 0.05 | 20 | 0.01 | 0.001 | 0.02 | 30
Site Specific Trigger Levels for Hydrocarbon Compounds
Field ID | Date
CHMW1 | 2021-09-24 | <0.001 | <0.0001 | <0.001 | 0.04 | <0.001 | <0.0001 | 0.002 | 0.02
CHMW1A | 2021-09-24 | 0.002 | <0.0001 | - | 0.04 | <0.001 | <0.0001 | 0.003 | 0.014
CHMW2 | 2021-09-24 | <0.001 | <0.0001 | - | 0.003 | <0.001 | <0.0001 | <0.001 | 0.011
CHMW4 | 2021-09-24 | 0.001 | 0.0002 | - | 0.004 | <0.001 | <0.0001 | 0.002 | 0.011
CHMW6 | 2021-09-24 | 0.003 | <0.0001 | - | 0.002 | <0.001 | <0.0001 | 0.016 | <0.005
CHMW7 | 2021-09-24 | <0.001 | 0.0002 | - | 0.006 | <0.001 | <0.0001 | 0.05 | 0.163
CHMW7A | 2021-09-24 | <0.001 | 0.0001 | - | 0.01 | 0.001 | <0.0001 | 0.008 | 0.169
CHMW9 | 2021-09-24 | <0.001 | <0.0001 | - | 0.005 | <0.001 | <0.0001 | 0.002 | 0.029
CHMW10 | 2021-09-24 | <0.001 | <0.0001 | - | 0.62 | 0.001 | <0.0001 | 0.009 | 0.166
CHMW12 | 2021-09-24 | <0.001 | <0.0001 | - | 0.002 | <0.001 | <0.0001 | 0.014 | 0.042
ERM2 | 2021-09-24 | 0.003 | 0.0002 | - | 0.048 | <0.001 | <0.0001 | 0.026 | 0.084
QS-1 | 2021-09-24 | 0.002 | <0.0001 | <0.001 | <0.001 | <0.001 | <0.001 | 0.004 | 0.013
QS-2B1 | 2021-09-24 | 0.002 | <0.0002 | - | 0.002 | <0.001 | <0.0001 | 0.004 | 0.015
GWT13 | 2021-09-24 | 0.001 | 0.0002 | <0.001 | 0.062 | 0.001 | <0.0001 | 0.017 | 0.067
Statistics
Number of Results |  | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
Number of Detects |  | 7 | 5 | 0 | 13 | 3 | 0 | 13 | 13
Minimum Concentration |  | 0.001 | 0.001 | <0.001 | <0.001 | 0.001 | <0.0001 | <0.001 | <0.005
Minimum Detect |  | 0.001 | 0.001 | ND | 0.002 | 0.001 | ND | 0.002 | 0.011
Maximum Concentration |  | 0.003 | 0.0002 | <0.001 | 0.062 | 0.001 | <0.0001 | 0.05 | 0.169
Maximum Detect |  | 0.003 | 0.0002 | ND | 0.062 | 0.001 | ND | 0.05 | 0.169
Average Concentration * |  | 0.0012 | 0.0001 | 0.0005 | 0.015 | 0.00061 | 5e-05 | 0.011 | 0.058
Median Concentration * |  | 0.00075 | 5e-05 | 0.0005 | 0.004 | 0.0005 | 5e-05 | 0.006 | 0.245
Standard Deviation * |  | 0.00096 | 6.8e-05 | 0 | 0.023 | 0.00021 | 0 | 0.013 | 0.063
95% UCL (Student's-t) * |  | 0.0017 | 0.00012 | 0.0005 | 0.0263 | 0.00071 | 5e-05 | 0.0176 | 0.0874
D - Duplicated samples adopted
Criteria:
Aquatic Ecosystems |  |  |  |  | National Environment Protection (Assessment of Site Contamintion) Measure (1999) as amneded 2013 - Groundwater Investigation Levels - Fresh Water.
1 Australian and New Zealand Environment and Conservation Council (ANZECC) - Low Reliability Trigger Values (for toluene and ethylbenzene) for Freshwater (2000).
Recreational Use |  |  |  |  | National Health and Medical Research Council (NHMRC) - Guidelines for Managing Risks in Recreational Water (2008).
National Health and Medical Research Council (NHMRC) - National Water Quality Management Strategy: Australian Drinking Water Guidelines (2011) as updated 2019.
Site Specific Trigger Levels for Hydrocarbon Compounds |  |  |  |  | Environmental Resources Management (ERM) - Site Specific Trigger Levels for Hydrocarbon Compounds (2015).

## MNA & Inoganics Results
|  | MNA Parameters | [9 empty] | Inorganic Parameters
|  | pH (Lab) | TDS | Ferrous Iron | Nitrate (as N) | Nitrite (as N) | Sulfate as SO4 - Turbidimetric (filtered) | Anions Total | Cations Total | Methane | TOC | Alkalinity (Bicarbonate as CaCO3) | Alkalinity (Carbonate as CaCO3) | Alkalinity (Hydroxide) as CaCO3 | Alkalinity (total) as CaCO3 | Chloride | Nitrite + Nitrate as N | Ionic Balance | Sodium (filtered)
|  | - | mg/L | mg/L | mg/L | mg/L | mg/L | meq/L | meq/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | % | mg/L
EQL |  | 0.01 | 10 | 0.05 | 0.01 | 0.01 | 1 | 0.01 | 0.01 | 0.01 | 1 | 1 | 1 | 1 | 1 | 1 | 0.01 | 0.01 | 1
Aquatic Ecosystems
Recreational Use
Site Specific Trigger Levels for Hydrocarbon Compounds
Field ID | Date
CHMW1 | 2021-09-24 | 7.57 | 2530 | <0.05 | 1.33 | <0.01 | 184 | 39.5 | 40.8 | <0.01 | 9 | 215 | <1 | <1 | 215 | 942 | 1.48 | - | 614
CHMW1A | 2021-09-24 | 7.64 | 6950 | 4.47 | 0.03 | <0.01 | 507 | 115 | 109 | <0.01 | 12 | 979 | <1 | <1 | 979 | 1,440 | 0.03 | 1.02 | 1,240
CHMW2 | 2021-09-24 | 6.72 | 680 | <0.05 | 1.06 | <0.01 | 63 | 6.84 | 6.68 | <0.01 | 1 | 146 | <1 | <1 | 146 | 37 | 0.66 | 0.71 | 100
CHMW4 | 2021-09-24 | 7.28 | 9070 | 0.32 | 0.2 | <0.01 | 286 | 145 | 142 | <0.01 | 7 | 147 | <1 | <1 | 147 | 3,960 | 0.32 | 3.71 | 2,350
CHMW6 | 2021-09-24 | 6.57 | 7890 | 38.7 | 0.01 | <0.01 | 664 | 124 | 120 | - | 18 | 268 | <1 | <1 | 268 | 3,020 | <0.01 | 7.32 | 1,560
CHMW7 | 2021-09-24 | 6.29 | 2600 | <0.05 | 0.38 | <0.01 | 219 | 39.4 | 38.9 | - | 3 | 47 | <1 | <1 | 47 | 1,070 | 0.35 | 3.67 | 743
CHMW7A | 2021-09-24 | 5.87 | 818 | 3 | 0.26 | <0.01 | 128 | 11.5 | 14 | - | 4 | 20 | <1 | <1 | 20 | 361 | 0.03 | 4.28 | 276
CHMW9 | 2021-09-24 | 6.15 | 990 | <0.05 | 0.15 | <0.01 | 302 | 14.4 | 1.5 | <0.01 | 5 | 110 | <1 | <1 | 110 | 126 | 0.02 | 2.73 | 156
CHMW10 | 2021-09-24 | 7.23 | 1480 | <0.05 | 0.26 | <0.01 | 173 | 24 | 23 | - | 2 | 118 | <1 | <1 | 118 | 350 | 0.21 | 7.17 | 193
CHMW12 | 2021-09-24 | 6.46 | 4270 | 2.23 | 0.02 | <0.01 | 847 | 60.8 | 63.6 | - | 4 | 306 | <1 | <1 | 306 | 3,880 | <0.01 | 0.12 | 2,720
ERM2 | 2021-09-24 | 6.84 | 9070 | 37.3 | <0.01 | <0.01 | 334 | 143 | 140 | - | 33 | 486 | <1 | <1 | 486 | 4,630 | 0.08 | 5.67 | 2,410
QS-1 | 2021-09-24 | - | - | - | - | - | - | - | - | - | -
QS-2B1 | 2021-09-24 | - | - | - | - | - | - | - | - | - | -
GWT13 | 2021-09-24 | 6.96 | 9900 | 0.34 | <0.01 | <0.01 | 575 | 153 | 147 | - | 2 | 536 | <1 | <1 | 536 | 3,890 | <0.01 | 1.33 | 2,470
Statistics
Number of Results |  | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 5 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Number of Detects |  | 12 | 12 | 7 | 10 | 0 | 12 | 12 | 12 | 0 | 12 | 12 | 0 | 0 | 12 | 12 | 9 | 12 | 12
Minimum Concentration |  | 5.87 | 680 | <0.05 | 0.01 | <0.01 | 63 | 6.84 | 6.68 | <0.01 | 1 | 20 | <1 | <1 | 20 | 37 | <0.01 | 0.12 | 100
Minimum Detect |  | 5.87 | 680 | 0.32 | 0.01 | ND | 63 | 6.84 | 6.68 | ND | 1 | 20 | ND | ND | 20 | 37 | 0.02 | 0.12 | 100
Maximum Concentration |  | 7.64 | 9.9 | 38.7 | 1.33 | <0.01 | 847 | 153 | 147 | <0.01 | 33 | 979 | <1 | <1 | 979 | 4630 | 1.48 | 7.32 | 2720
Maximum Detect |  | 7.64 | 9.9 | 38.7 | 1.33 | ND | 847 | 15 | 147 | ND | 33 | 979 | ND | ND | 979 | 4630 | 1.48 | 7.32 | 2720
Average Concentration * |  | 6.8 | 4.687 | 7.2 | 0.31 | 0.005 | 357 | 73 | 7 | 0.005 | 8.3 | 282 | 0.5 | 0.5 | 282 | 1976 | 0.27 | 3.3 | 1236
Median Concentration * |  | 6.78 | 3.435 | 0.33 | 0.175 | 0.005 | 294 | 50.15 | 52.2 | 0.005 | 4.5 | 181 | 0.5 | 0.5 | 181 | 1255 | 0.055 | 3.2 | 991.5
Standard Deviation * |  | 0.56 | 3.632 | 14 | 0.44 | 0 | 240 | 58 | 56 | 0 | 9.2 | 272 | 0 | 0 | 272 | 1757 | 0.43 | 2.5 | 1024
95% UCL (Student's-t) * |  | 7.089 | 6.57 | 14.7 | 0.535 | 0.005 | 481.4 | 103.2 | 100.5 | 0.005 | 13.1 | 422.6 | 0.5 | 0.5 | 422.6 | 2887 | 0.49 | 4.566 | 1767
D - Duplicated samples adopted
Criteria:
Aquatic Ecosystems |  |  |  |  | National Environment Protection (Assessment of Site Contamintion) Measure (1999) as amneded 2013 - Groundwater Investigation Levels - Fresh Water.
1 Australian and New Zealand Environment and Conservation Council (ANZECC) - Low Reliability Trigger Values (for toluene and ethylbenzene) for Freshwater (2000).
Recreational Use |  |  |  |  | National Health and Medical Research Council (NHMRC) - Guidelines for Managing Risks in Recreational Water (2008).
National Health and Medical Research Council (NHMRC) - National Water Quality Management Strategy: Australian Drinking Water Guidelines (2011) as updated 2019.
Site Specific Trigger Levels for Hydrocarbon Compounds |  |  |  |  | Environmental Resources Management (ERM) - Site Specific Trigger Levels for Hydrocarbon Compounds (2015).